COLLIN COLLEGE

COURSE SYLLABUS

Course Number:  HPRS 1471

Course Title:  Central Sterile Processing III

Course Description:  An exploration of the subsections of the IAHCSMM Certification program: A) Instrument and Instrument Identification – identifying surgical instruments by name and purpose, examination of the process by which surgical instruments are manufactured and prepared for the sterilization process. B) Endoscopic Instruments – proper care, handling and processing of endoscopic instruments. C) Decontamination – describe how reusable equipment, instruments, and supplies are cleaned and decontaminated by means of manual or mechanical cleaning processes and chemical disinfection and the proper use of Personal Protective Equipment (PPE) and Standard Precautions. D) Preparation and Handling – relates to basic principles of various packaging materials and closure methods used for sterilization preparation as they relate to the Association of Advancement of Medical Instrument (AAMI) standards. E) Sterilization – relates sterilization procedures and theory including high and low temperature sterilization, sterilization equipment, types of sterilizers, various cycles, quality assurance concepts, documentation, standards, policies and procedures. Lab required.

Course Credit Hours: 		4

Lecture Hours: 		4

Lab Hour:		1

Student Learning Outcomes:  Upon successful completion of this course, students will:

- Describe basic factors that impact cleaning and decontamination:

Design and location of decontamination area

Environmental design and controls

Staff safety and personal attire

Staff education and training

- Describe important selection and usage concerns for cleaning agents (water, detergents, enzymes, and enzymatic detergents) and for lubricants

- Explain details about cleaning and decontamination, and review manual procedures and mechanical methods to complete both processes

- Describe procedures to clean basic types of instruments:

General cleaning protocols

Delicate and hard-to-clean instruments

Instrument containers and basins

Power equipment

Mobile patient care equipment

Verification and quality control tactics

- Apply procedures to manage infectious waste

- Identify the process by which surgical instruments are manufactured, functions, and identify the points on inspection, anatomy (features) of, and procedures to measure the following types of instruments:

Hemostatic Forceps

Needleholders

Tissue Forceps

Dressing Forceps

Retractors

Scissors

Suction Devices

Single and Double Action Rongeurs

Kerrison / Laminectomy Rongeurs

Nail Nippers

Graves and Pederson Vaginal Speculums

- Identify solutions that can damage stainless steel instruments

- Explain procedures to test instruments for sharpness, and to identify (mark) them

- Recognize the importance of instruments lubrication, and review tray assembly safeguards

- Develop an overview of and discuss procedures to care for and effectively process powered surgical instruments

- Explain basic concerns important when handling and processing endoscopic instruments

- Describe detailed information about flexible endoscopes

- Apply general processing and inspection requirements for rigid and semi-rigid endoscopes and laparoscopic instruments

- Identify basic protocols important at each step in the loaner instrumentation process

- Demonstrate basic procedures to prepare pack contents for packaging

- Explain basic packaging procedures for peel pouches and flat wrapping materials

- Explain basic package closure methods

- Develop an overview of disposable packaging materials

- Explain the basic objectives of the packaging process, and review basic selection factors for materials to be used with specific sterilization methods

- Recognize equipment malfunction and list corrective action

- Demonstrate safe handling of sterile supplies

- Explain the primary objectives in selecting the correct packaging materials

- Demonstrate the wrapping of procedures trays, instruments and other supplies

- Review general packing concepts:

Package labeling

Special concerns

Sterility maintenance

- Identify factors that impact the effectiveness of sterilization and the methods of heat transfer associated with high temperature sterilization

- Explain basic work practices for steam sterilization

Preparing devices and packs for steam sterilization

Loading a sterilizer

Unloading a sterilizer

Controlling wet packs

Cleaning and maintaining sterilizers

- Explain specific requirements for the three low temperature sterilization methods:

Ethylene oxide

Hydrogen peroxide (gas plasma)

Ozone

- Recognize basic information about types of steam sterilizers:

Tabletop

Gravity Air Displacement

Dynamic Air Removal

Instrument Washer Sterilizer

Flash Sterilizer

- Explain the need for quality control and review sterilization process indicators that help assure quality control:

Need for quality control

Chemical indicators

Sterilization load control information

Physical and mechanical monitors

Bowie-Dick tests

Validation and Verification processes

Licensure Notice: For students in this course who may have a criminal background, please be advised that the background could keep you from being licensed by the State of Texas.  If you have a question about your background and licensure, please speak with your faculty member or the department chair. You also have the right to request a criminal history evaluation letter from the applicable licensing agency.

Withdrawal Policy:  See the current Collin Registration Guide for last day to withdraw.

Collin College Academic Policies:  See the current Collin Student Handbook

Americans with Disabilities Act Statement: Collin College will adhere to all applicable federal, state and local laws, regulations and guidelines with respect to providing reasonable accommodations as required to afford equal educational opportunity. It is the student’s responsibility to contact the ACCESS office, SCC-D140 or 972.881.5898 (V/TTD: 972.881.5950) to arrange for appropriate accommodations. See the current Collin Student Handbook for additional information.

# Text boxes

Course Information